15.14.770 Best Management Practices.

A. The City may develop best management practices (BMPs), by ordinance, Resolution, Director order, or in individual wastewater discharge permits, to implement local limits, federal regulations, and the requirements under this Chapter.

B. All industrial users shall follow BMPs established by ordinance, individual wastewater discharge permit, or implement BMPs in their operations to minimize the discharge of pollutants to the sanitary sewer system and ensure appropriate monitoring, treatment, and other measures are being taken to prevent violations.

C. When an industrial user develops BMPs in response to an enforcement action, the user shall continue to implement those BMPs and any associated record keeping unless approved to discontinue.

D. Industrial users subject to BMPs as a means of complying with the standards of this Title shall maintain documentation to demonstrate compliance with the applicable BMP standards.

E. Periodic reports on continued compliance for BMP regulated dischargers shall require the discharger to certify that the BMPs have been implemented during the reporting period.

F. All persons shall implement BMPs or make reasonable efforts on their properties to prevent the discharge of pollutants to the storm sewer system and ensure appropriate monitoring, treatment, and other measures are taken to prevent unauthorized discharges.

G. When a person develops BMPs in response to an enforcement action, order, or NPDES permit, the BMPs and associated record keeping must be implemented and continued until the regulatory authority authorizes the BMPs to stop.

(Ord. 30614, 30906.)