## TCM Summary Table
TREATMENT CONTROL MEASURE SUMMARY TABLE
[11 empty] | Bioretention |  |  | Self Retaining / Treating |  | Media Filter
DMA # | TCM # | Location1 | Treatment Type2 | LID or Non-LID | Sizing Method | Drainage Area (s.f.) | Impervious Area4 (s.f.) | Pervious Area (Permeable Pavement) (s.f.) | Pervious Area (Other) (s.f.) | % Onsite / Offsite Area Treated by LID or Non-LID TCM | Bioretention Area Required (s.f.) | Bioretention Area Provided (s.f.) | Overflow Riser Height (in) | Storage Depth Required (ft) | Storage Depth Provided (ft) | # of Cartridges Required | # of Cartridges Provided | Media Type | Cartridge Height (inches) | Treatment Credit (s.f.) | Comments
1 | [9 empty] | -
2 | [9 empty] | -
3 | [9 empty] | -
4 | [9 empty] | -
5 | [9 empty] | -
6 | [9 empty] | -
7 | [9 empty] | -
8 | [9 empty] | -
9 | [9 empty] | -
10 | [9 empty] | -
11 | [9 empty] | -
12 | [9 empty] | -
13 | [9 empty] | -
14 | [9 empty] | -
15 | [9 empty] | -
16 | [9 empty] | -
17 5 | [9 empty] | - | [10 empty] | Being equivalently treated by EQ-1
EQ-15 | [9 empty] | - | [10 empty] | Equivalent Treatment for DMA 17
[5 empty] | Totals: | 0 | 0 | 0 | 0 | 0%
Footnotes:
1 | Per the Municipal Regional Stormwater Permit, sidewalks and other parts of the right-of-way should be included in the new and/or replaced impervious surface calculation and treated as required
2 | “Lined” refers to an impermeable liner placed on the bottom of a Bioretention basin or a concrete Flow-Through Planter, such that no infiltration into native soil occurs.
3 | Sizing for Bioretention Area Required calculated using the 4% Method (Impervious Area x 0.04)
4 | Gravel is considered as an impervious surface unless it is part of an infiltration trench.
5 | DMA XX is not being treated but will be treated by Equivalent Treatment Area EQ-1. Area EQ-1 is equal to or greater than the required treatment area of DMA XX. EQ-1 is not required to be treated as it is [insert reason here]
6 | Treatment type of Self-Treating or Self-Retaining should only be used with landscape based treatment. If previous pavement is proposed for Self-Treating or Retaining, use the Pervious Pavement selection.

## Treatment Types
Bioretention lined w/ underdrain
Bioretention unlined w/ underdrain
Bioretention unlined w/o underdrain
Flow-Through planter (concrete lined) w/ underdrain
Green Roof
Infiltration trench
Maintenance
Pervious pavement w/o underdrain
Pervious pavement w/ underdrain
Proprietary Media Filter System (MFS) (only allowed for special projects)
Proprietary Tree Filter (only allowed for special projects)
Rainwater harvest/use system
Self-treating areas (landscaped)
Self-retaining areas (landscaped)
Subsurface Infiltration System
Suspended Pavement System
Untreated